

CONDUMAX APPLICATION QUESTIONNAIRE

for hydrocarbon dewpoint measurement in natural gas

| Customer: |  |
| --- | --- |
| Customer Ref: |  | Michell Ref: |  |

Sensor Cell and Sampling System:

| Description of installation position e.g. 'Analyser room': |  |
| --- | --- |
| Hazardous Area Classification: |  |
| Distance from sample point: | metres/yards* |
| Environmental conditions at installation position: Is the proposed installation position inside or outside?: Inside/outside* (Please delete) Comments: | Winter: Temperature:- Min: Max: Nominal °C/°F* Humidity:- Min: Max: Nominal %RH Summer: Temperature:- Min: Max: Nominal °C/°F* Humidity:- Min: Max: Nominal %RH |
| What power supply available?: | 110/220V* | 50/60Hz* | Other: |  |
| Is compressed air available?: | Yes/No* |
| If Yes, what is the specification of the air supply? If No please specify: | Pressure: KPa/bar/psi*/Gauge/abs.* Oil free? - Yes/No 'Instrument Quality'? - Dewpoint <-40°C - Yes/No |

Gas Composition:

| C1 | % | C2 | % | C3 | % | C4 | % | C5 | % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C6 | % | H2 | % | CO | % | CO2 | % | H2S | ppm |
| Others: |  |  |  |  |  |  |  |  |
| Specific gravity: |  | Molecular weight |  |
| Is the gas classified as sour? | Yes/No* |
| If Yes then is conformity required to NACE MR-01-75 or equivalent specification for selection of materials to avoid sulphide stress cracking? | Yes/No* If Yes state specification required: |
| What processing has taken place? e.g. 'chiller' separation plant |  |
| Is the process gas sample wholly gaseous? | Yes/No* | If No give details: |  |
| Is there any particulate contaminants present? | Yes/No* | If Yes give details: |  |
| Are there any additives such as methanol? | Yes/No* | If Yes give details: |  |



Process Gas Conditions at sample point:

|  | Minimum | Maximum | Nominal | Unit |
| --- | --- | --- | --- | --- |
| Gas pressure: |  |  |  | KPa/bar/psi* Gauge/abs.* |
| Gas Temp: |  |  |  | °C/°F* |
| Ambient Temp: Summer: |  |  |  | °C/°F* |
| Winter: |  |  |  | °C/°F* |
| Typical hydrocarbon dewpoint: at a pressure of: | _________ | _________ | _________ | °C/°F* KPa/bar/psi* Gauge/abs.* |
| Typical water dewpoint: at a pressure of: | _________ | _________ | _________ | °C/°F* KPa/bar/psi* Gauge/abs.* |
| Sample vent/Return pressure: |  |  |  | KPa/bar/psi* Gauge/abs.* |

Monitoring System - CONDUMAX Control Unit:

| Description of installation position e.g. 'instrument room': |  |
| --- | --- |
| Hazardous Area Classification: Note: A safe area is required for the Control Unit. |  |
| Distance from sample system: | metres/yards* |
| Environmental conditions at installation position: Note: An indoors location suitable for electronic measurement instrumentation is required. Comments: | Winter: Temperature:- Min: Max: Nominal °C/°F* Humidity:- Min: Max: Nominal %RH Summer: Temperature:- Min: Max: Nominal °C/°F* Humidity:- Min: Max: Nominal %RH |
| What power supply available?: | 110/220V* | 50/60Hz* | Other: |  |

Water Dewpoint Measurement Range (if combined):

| (C dewpoint |  | (F dewpoint |  |
| --- | --- | --- | --- |
| Parts per million(V) |  | Parts per million(W) |  |
| LB/MMSCF |  | gm’s/m3 |  |
| Other (please specify): |  |

Output Signals

| Analogue 4-20mA: | Isolated | Yes/No* | Alarms | Yes/No* |
| --- | --- | --- | --- | --- |
| Analogue 0-1V: | Isolated | Yes/No* | Digital mA/Volts | Yes/No* |
| Other (please specify): |

* Delete as appropriate